Table 1: Different techniques prevailing in literature for EMS

| EMS Type | Optimization Objective | Optimization Algorithm | Major Consideration | Ref | Limitations |
| --- | --- | --- | --- | --- | --- |
| Centralized | Cost minimization | Particle swarm optimization | 1.Uncertainties in load and renewable power 2.Grid–connected mode only | (Nikmehr & Ravadanegh, Optimal Power Dispatch of Multi-Microgrids at Future Smart Distribution Grids, 2015) | 1. Increase in computational burden of central EMS 2. Failure to preserve customer privacy of microgrids 3. Requirement of extensive communication setup |
|  | Cost minimization and reliability maximization | Imperialistic competitive algorithm | 1.Load–generation uncertainties 2.Both gird-connected and islanded modes | (Nikmehr & Ravadanegh, Reliability evaluation of multi-microgrids considering optimal operation of small scale energy zones under load-generation uncertainties, 2016) |  |
|  | System Reliability maximization | Mixed integer linear programming (MILP) | 1.Detalled modeling of unbalanced systems 2.Islanded mode only | (Olivares, Cañizares, & Kazerani, 2014) |  |
| Centralized With Sequential operation | Cost minimization |  | 1.Distribution of computational burden 2.Grid-connected mode only | (Song, Lee, Kim, Im, & Lee, 2015) | 1.Failure to preserve privacy of microgrids 2. Requirement of extensive communication setup |
|  | Cost minimization | Sequential quadratic programming | 1.demand bidding and three level control 2.Grid- connected mode only | (Tsikalakis & Hatziargyriou, 2011) |  |
| Decentralized | Cost minimization | Multi-agent system with contract net protocol | 1.Autonomous operation and customer privacy | (Kim, Lim, & Kinoshita, An Intelligent Multiagent System for Autonomous Microgrid Operation, 2012) | 1. Unawareness of system level resources 2. Due to individual objectives, equilibrium may exist and further optimization may not be possible |
|  | Minimization of load shedding |  | 1.Competitive environment among suppliers 2.Islanded mode only | (Kim, Kinoshita, & Shin, A Multiagent System for Autonomous Operation of Islanded Microgrids Based on a Power Market Environment, 2010) |  |
|  | Cost minimization and reliability maximization | Stochastic optimization | 1.2-layered stochastic model and uncertainties 2.Both grid-connected and islanded modes | (Wang, Chen, Wang, & kim, Decentralized Energy Management System for Networked Microgrids in Grid-Connected and Islanded Modes, 2016) |  |
|  | Supply adequate maximization | Average consensus algorithm | 1.Self-healing and autonomous operation 2.Both grid-connected and islanded modes | (Wang, Chen, Wang, & Chen, Networked Microgrids for Self-Healing Power Systems, 2016) |  |
| Hybrid | Cost minimization and reliability maximization | MILP | 1.Three-level control and dynamic conditions 2.Both grid-connected and islanded modes | (Zhang, Zhao, & Hong, 2015) | 1. Parallel operation of microgrids 2. Single-level privacy of customers, easy to reveal 3. Reduction in resiliency of disconnected microgrids 4. Central EMS failure results in autonomous operation |
|  | Cost Minimization |  | 1.Control of voltage, frequency, and power 2. Both grid-connected and islanded modes | (Tian, Xiao, Wang, & Ruoxing, 2016) |  |
|  | Cost minimization and reliability maximization |  | 1.Hybrid microgrids and diversity gain 2.Both grid-connected and islanded modes | (Che, Shahidehpour, Alabdulwahab, & Al-Turki, 2015) |  |
|  | Cost Minimization |  | 1. Load smothering and cooperative operation 2.Islanded mode only | (Wang, Mao, & Nelms, 2015) |  |